## Setup
List your processes here: | Enter full name of CAR form here | Corrective Action Request
Service Delivery Processes |  | For example, "Corrective Action Request"
Resource Management Processes | Enter abbreviated name of your CAR form here
Measurement, Analysis & Improvement Processes
Management Responsibility Processes |  | CAR
For example, "CAR"
Enter name or title of CAR Administrator here
Lee Payne
For example, "John Smith"

## CAR Form
| Corrective Action Request (CAR) - Rev 002 | [6 empty] | CAR # | This form is protected. Please do not modify. To unlock, go to REVIEW -> UNPROTECT.
44
0
Type Check one
[7 empty] | Name: | Lee Payne
[7 empty] | Date: | 2017-12-21
Source Check one
Process Check one | Service Delivery Processes |  | Resource Management Processes |  |  |  | Measurement, Analysis & Improvement Processes
| Management Responsibility Processes |  | 0 |  |  |  | 0
| 0 |  | 0 |  |  |  | 0
0
Priority Check One
Describe the issue or problem in detail.
Unable to locate calibration records for two assets listed on the calibration equipment register: - Asset # MM001 : Fluke 123 Multi Meter - Asset # MTE001 : Fluke 1567 Multifunctional Tester
Stop here. Submit CAR to Lee Payne
CAR Assigned to: | David Bullock |  |  | Date Assigned: | 2017-12-22 |  | Respond by: | 2018-01-12
To be completed by the Assignee.
Root Cause of Problem: (Required for all corrective and preventive issues; optional for suggestions for improvement.)
Model numbers of the equipment had not been adequately maintained.
Action Plan: (Actions taken to eliminate root cause, resolve issue and prevent recurrence.)
A new Calibration Log has been created with the model numbers updated and a serial number field created so that a more appropriate unique identifier is used. Updated procedure also created due to the new standard to ensure this issue doesn't happen again.
Date Action Completed: | 2018-01-09 |  |  |  | Name: | David Bullock
Stop here. Return CAR to Lee Payne
CAR Effectiveness verified by: |  | Lee Payne |  |  | Date: | 2018-01-10
Result:
Notes and justification:
Corrective Action (existing issue)
Preventive Action (potential issue)
Opportunity for Improvement / Suggestion
Employee Feedback
External Audit Finding
Other:
Customer Feedback
Internal Audit Finding
Supplier / Subcontractor Feedback
Management Review Action Item
Other:
Low
Medium
High
Urgent / Critical
Leave blank - will be entered after logging.
Select "CORRECTIVE" if the issue reflects an existing problem.
Select "PREVENTIVE" if the issue reflects a potential problem.
Select "SUGGESTION" if the problem is an opportunity for improvement
Select the SOURCE of the issue -- this is who reported it initially, even if the CAR form itself is being completed by an employee.
Select the PROCESS for which the problem is likely to have occurred:
Select the PRIORITY for the issue being reported:
LOW: Respond as availability allows; may extend deadline with permission of CAR Administrator.
MEDIUM: Respond as soon as feasible; deadline established, but may be interrupted by higher priority activities.
HIGH: Respond by established deadline, which may interrupt other staff working low or medium priority activities.
URGENT / CRITICAL: Respond immediately with sustained effort using all available resources until resolved. Company at legal or other compliance risk.
PASS
FAIL: Returned for Further Processing
Conduct a ROOT CAUSE ANALYSIS. This is an exercise to determine the origin (root cause) of the problem. Consider using the "Five Why" method, by asking "Why did this happen?" and then repeating this five times, in response to each previous answer. Root causes are MANDATORY for corrective and preventive acitons, but optional for OFIs/Suggestions.
Define the ACTION PLAN which will aim to eliminate the root cause, thus correcting or preventing the problem. This plan may be updated as it progresses. If you need more time to complete the plan, request an extension from the CAR Administrator.