## Sheet1
Unit 52, Dukesway
Teesside Industrial Estate
Thornaby, TS17 9LT
[6 empty] | MAINTENANCE SHEET | [6 empty] | Registered No: 774257 England
Date: 03.07.24 |  |  | Customer |  | INFRACTEC UK LTD | [8 empty] | Job No | 76177
Address: |  | UNIT 8, EASTER PARK, BARTON ROAD, RIVERSIDE BUSINESS PARK, MIDDLESBROUGH, TS2 1RY
1. Check and clean filters. | [5 empty] | a | 8. Check the float/sensor and the condensate drains. | [8 empty] | a
2. Check insulation. | [5 empty] | a | 9. Check all eletrical components. | [8 empty] | a
3. Check general condition of unit. | [5 empty] | a | 10. Check oil and refrigerant levels. | [8 empty] | a
4. Check operation of fans and clean condenser. | [5 empty] | a | 11. Thorough leak test of equipment and record F-Gas Regulations. | [8 empty] | a
5. Check and prove operation of thermostat. | [5 empty] | a | 12. Clean interior coil with anti-bacterial cleaner, if required. | [8 empty] | a
6. Clean condenser coil. | [5 empty] | a | 13. Clean surfaces of compressors and components, if required. | [8 empty] | a
7. Prove the removal of condensate from the unit. | [5 empty] | a | 14. Visually check the equipment to access any problems and inspect for any deterioration in equipment | [8 empty] | a
System | Make |  |  | Model |  |  |  | Serial Number |  |  |  | Location |  |  | Gas Type | Gas Quantity
S/S | MITSUBISHI | MITSUBISHI | MITSUBISHI | SRK50ZS-S | SRK50ZS-S | SRK50ZS-S | SRK50ZS-S | 755403203BE | 755403203BE | 755403203BE | 755403203BE | 1ST FLOOR MEZZANINE OFFICE | 1ST FLOOR MEZZANINIE OFFICE | 1ST FLOOR MEZZANINIE OFFICE
S/S | MITSUBISHI | MITSUBISHI | MITSUBISHI | SRC50ZS-S | SRC50ZS-S | SRC50ZS-S | SRC50ZS-S | 783612084BE | 783612084BE | 783612084BE | 783612084BE | ABOVE OFFICE OUTDOOR | ABOVE OFFICE OUTDOOR | ABOVE OFFICE OUTDOOR | R410A | 1.25KG
S/S | TOSHIBA | TOSHIBA | TOSHIBA | RAV-RM801UTP-E | RAV-RM801UTP-E | RAV-RM801UTP-E | RAV-RM801UTP-E | 12500137 | 12500137 | 12500137 | 12500137 | UPSTAIRS OFFICE | UPSTAIRS OFFICE | UPSTAIRS OFFICE
S/S | TOSHIBA | TOSHIBA | TOSHIBA | RAV-GM801ATP-E | RAV-GM801ATP-E | RAV-GM801ATP-E | RAV-GM801ATP-E | 12600678 | 12600678 | 12600678 | 12600678 | ABOVE OFFICE | ABOVE OFFICE | ABOVE OFFICE | R32 | 1.3KG
Faulty
Unit Removed
Ammended or New
All Ok
Director : Mr. S. Farrell