## Register
Equipment ID | Location | Location Name | Description | Serial No | Type | Combined Test Period | Last Combined Test | Next Combined Test | Visual Only inspection Period | Last Visual Inspection | Next Visual Inspection | Comments
PAT0082 | 1 | 8 - Deliveries | Metal Shutter Roller Door | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0083 | 1 | 8 - Deliveries | 2 Plug White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0084 | 1 | 8 - Deliveries | Small White Table Fan | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0085 | 1 | 8 - Deliveries | 4 Plug White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0086 | 1 | 8 - Deliveries | Netta 500ml Black Kettle | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0087 | 1 | 8 - Deliveries | 1 Plug White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0088 | 1 | 8 - Deliveries | 1 Plug White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0089 | 1 | 8 - Deliveries | 1 Plug White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0090 | 1 | 8 - Deliveries | DeWalt Li-Ion Battery Charger | 202018DB | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0091 | 1 | 8 - Deliveries | PowerShare Battery Charger | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0092 | 1 | 8 - Deliveries | Bosch Battery Charger | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0093 | 1 | 8 - Deliveries | Amazon Alexa Radio | G2A0XL07016607FN | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0263 | 1 | 8 - Deliveries | RSC Version 3 Testing Rig | 286458 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0264 | 1 | 8 - Deliveries | Intel Mini Computer | B8AEED71DFF8 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0265 | 1 | 8 - Deliveries | Henry Hoover | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0094 | 2 | 8 - Main Wall | Atkinson Ad Blue Pump | B00221595 | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0095 | 3 | 8 - Shop Floor | Sign Mobile Testing Unit 1 Marachel Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0096 | 3 | 8 - Shop Floor | Mobile Sign Testing Unit 1 Comms Test Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0097 | 3 | 8 - Shop Floor | Mobile Sign Testing Unit 1 Extension Power Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0098 | 3 | 8 - Shop Floor | Sign Testing Unit 2 Marachel Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0099 | 3 | 8 - Shop Floor | Sign Testing Unit 2 Comms Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0100 | 3 | 8 - Shop Floor | Sign Testing Unit 2 Extension Test Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0101 | 3 | 8 - Shop Floor | NEC Computer Monitor (@S.T.U 2) | AWRN11A001071 | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0102 | 3 | 8 - Shop Floor | Adjustable Power Supply Eventek | n/a | Combined Test & Visual | 12 Months | 2023-08-03 | 2024-12-31 | n/a
PAT0103 | 3 | 8 - Shop Floor | Braided Marachel Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0104 | 3 | 8 - Shop Floor | Braided Comms Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0071 | 4 | 8 - Stock Room | Logik Tumble Dryer | 0071299601034880100 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0072 | 4 | 8 - Stock Room | Henry the Hoover | 213216544 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0001 | 5 | 8 - Test & Repair Room | Trimmer Electrical | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0002 | 5 | 8 - Test & Repair Room | Enviromental Card Tester | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0003 | 5 | 8 - Test & Repair Room | Portable Radiator | 1409JN | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0004 | 5 | 8 - Test & Repair Room | Portable Radiator | 1409JN | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0005 | 5 | 8 - Test & Repair Room | Lenovo Mini Portable Hard Drive | PC05VF91 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0006 | 5 | 8 - Test & Repair Room | Ethernet 16 Port Switch | 2VY2575J000CF | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0007 | 5 | 8 - Test & Repair Room | VMS RSC Version 2 | A100/078 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0008 | 5 | 8 - Test & Repair Room | Lenovo Laptop (RSC Version 2 Testing) | MP11QBWB | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0009 | 5 | 8 - Test & Repair Room | Tech Span RSC Version 2 | 278 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0010 | 5 | 8 - Test & Repair Room | Hanns.G Computer Screen | 838HN3XY06435 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0011 | 5 | 8 - Test & Repair Room | Weir Electrical Trimmer | 682263 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0012 | 5 | 8 - Test & Repair Room | White Old Desktop Computer | 038 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0013 | 5 | 8 - Test & Repair Room | NetGear 16 Port Switch | 2VY257000D2 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0014 | 5 | 8 - Test & Repair Room | ACER Computer Monitor | MMT1UEE0016030D5578500 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0015 | 5 | 8 - Test & Repair Room | Multi Stark Controller Testing Unit | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0016 | 5 | 8 - Test & Repair Room | VMS RSC Version 1 | 124 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0017 | 5 | 8 - Test & Repair Room | Racal Dana Trimmer | T5P151007 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0018 | 5 | 8 - Test & Repair Room | White Magnifying Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0019 | 5 | 8 - Test & Repair Room | Erbauer Battery Charger for Drill | RO7W33 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0020 | 5 | 8 - Test & Repair Room | Double Flourescent Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0021 | 5 | 8 - Test & Repair Room | Black 3 Pin Plug Test Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0022 | 5 | 8 - Test & Repair Room | Farnell Voltage Adjustor | 004284 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0023 | 5 | 8 - Test & Repair Room | BGA/SMD Thermo Flo | 030-36-M-16-38057 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0024 | 5 | 8 - Test & Repair Room | Black Table Fan | n/a | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0025 | 5 | 8 - Test & Repair Room | Skytronic Adjustable Power Supply | 9163K0901005 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0026 | 5 | 8 - Test & Repair Room | Skytronic Adjustable Power Supply | 9163K0901025 | Combined Test & Visual | 12 Months | 2023-08-01 | 2024-12-31 | n/a
PAT0027 | 5 | 8 - Test & Repair Room | Gold Powerpack Testing Kit | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0028 | 5 | 8 - Test & Repair Room | ACER LCD Monitor | 73402340241 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0029 | 5 | 8 - Test & Repair Room | Compaq Computer (Black) | 157461-001 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0030 | 5 | 8 - Test & Repair Room | Portable Halogen Light | WE 120 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0040 | 5 | 8 - Test & Repair Room | SMY 5 Metre Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0041 | 5 | 8 - Test & Repair Room | 4 Gang White Extension Lead, 2 Metre | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0042 | 5 | 8 - Test & Repair Room | RCD Tester Megger | MTE092 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0043 | 5 | 8 - Test & Repair Room | OKI Desk Hoover | 110725 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0044 | 5 | 8 - Test & Repair Room | OKI Souldering Iron | 009005 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0045 | 5 | 8 - Test & Repair Room | MX-5200 | 044671 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0046 | 5 | 8 - Test & Repair Room | VMS RSC Version 2 | 2622 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0047 | 5 | 8 - Test & Repair Room | Metcal Souldering Iron | MX240705 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0048 | 5 | 8 - Test & Repair Room | Magifying Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0049 | 5 | 8 - Test & Repair Room | H.P Grey Laptop | F145021650012295 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0050 | 5 | 8 - Test & Repair Room | Leneovo Black Laptop | 01915 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0051 | 5 | 8 - Test & Repair Room | IO Port White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0052 | 5 | 8 - Test & Repair Room | 12/24 Volt Testing Unit | 7855/0002 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0053 | 5 | 8 - Test & Repair Room | ACER Black Computer Monitor | ETLBP0C003821107454002 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0054 | 5 | 8 - Test & Repair Room | Compaq Black Desktop Computer | HU31109279 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0055 | 5 | 8 - Test & Repair Room | 1 White 4 Way Extension Lead (1 Metre) | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0056 | 5 | 8 - Test & Repair Room | 1 White 4 Way Extension Lead (2 Metre) | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0057 | 5 | 8 - Test & Repair Room | Magnifying Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0058 | 5 | 8 - Test & Repair Room | ACER (Andy's Computer Monitor) | 25LVLM5001 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0059 | 5 | 8 - Test & Repair Room | ACER Black Computer Monitor | MMT1UEE0016140D5388500 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0060 | 5 | 8 - Test & Repair Room | Small Black Desk Computer Intel | SAH87090-502 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0241 | 5 | 8 - Test & Repair Room | HP Laptop | CNU9345IKH | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0242 | 5 | 8 - Test & Repair Room | Test Kettle Lead 3M | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0243 | 5 | 8 - Test & Repair Room | Test Kettle Lead 2M | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0244 | 5 | 8 - Test & Repair Room | Kettle Lead 1M | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0245 | 5 | 8 - Test & Repair Room | MD45-LV CONVERTER | 5876 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0246 | 5 | 8 - Test & Repair Room | HP Tower (VMS0199) | CZC703IMVY | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0247 | 5 | 8 - Test & Repair Room | Lenovo Monitor | VN380321 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0248 | 5 | 8 - Test & Repair Room | 3M 4 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0249 | 5 | 8 - Test & Repair Room | 5M 4 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0250 | 5 | 8 - Test & Repair Room | 2M 10 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0251 | 5 | 8 - Test & Repair Room | 6 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0252 | 5 | 8 - Test & Repair Room | Rigid Sinuscope | DS1ZC182100963 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a |  |  | Has no earth as it would have note during testing
PAT0253 | 5 | 8 - Test & Repair Room | 10 Way Grey Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0254(1) | 5 | 8 - Test & Repair Room | Toughbook 004 Panasonic | 1AKCA26173 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0254(2) | 5 | 8 - Test & Repair Room | Toughbook 006 Panasonic | CJKCA51302 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0254(3) | 5 | 8 - Test & Repair Room | Toughbook 005 Panasonic | 3JKCA51198 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0255 | 5 | 8 - Test & Repair Room | Toughbook 003 Panasonic | 89KCB80169 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0256 | 5 | 8 - Test & Repair Room | UMS RSC Gantry Controller | 6907100180 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0257 | 5 | 8 - Test & Repair Room | 2 Way White Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0258 | 5 | 8 - Test & Repair Room | Marechel Armoured Sign Test LED | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0259 | 5 | 8 - Test & Repair Room | Energenie Energy Consumation Tester | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0260 | 5 | 8 - Test & Repair Room | Laptop Power Adapter | 00133 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0261 | 5 | 8 - Test & Repair Room | 10 Meter Twist n plug Millitary Connector | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0262 | 5 | 8 - Test & Repair Room | 20 Meter Blue Extension Lead | 2W03069 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0311 | 5 | 8 - Test & Repair Room | work station 2 AOC Computer Monitor | XXUNBHA00660 | Combined Test & Visual | 12 Months | 2023-09-27 | 2024-12-31 | n/a
PAT0312 | 5 | 8 - Test & Repair Room | Lenovo A Davison Laptop | MP117OUV | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0313 | 5 | 8 - Test & Repair Room | 3 in 2 Meter armoured test lead | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0122 | 6 | 8 - Specialist Tools | Cable Stripper | VBE05301EC38 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0126 | 6 | 8 - Specialist Tools | JCB Wood Router | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0127 | 6 | 8 - Specialist Tools | Macallister Chop Saw | 14W4604170 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0128 | 6 | 8 - Specialist Tools | Maypole Battery Charger 12/24 Volts | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0129 | 7 | 8 - Back Wall | 110 volt makita 230mm angle grinder | 119839R | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0130 | 7 | 8 - Back Wall | Yellow 110 volt Transformer BBH | TR2000 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0131 | 7 | 8 - Back Wall | Blue 110 volt -> 110 volt Transformer | CM300 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0132 | 7 | 8 - Back Wall | 4 Way 110 volt Extension Lead (defender) | 94398 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0133 | 7 | 8 - Back Wall | Defender 4 Way 110 volt Extension Lead | 99534 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0134 | 7 | 8 - Back Wall | Mennekes 30 meter 110 volt Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0135 | 7 | 8 - Back Wall | Mennekes 20 meter 110 volt Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0136 | 7 | 8 - Back Wall | Mennekes 20 meter 110 volt Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0137 | 7 | 8 - Back Wall | Elements 10 meter 110 volt Extension Lead | C0606030-5 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0138 | 7 | 8 - Back Wall | JoJo Red + Black 25 Meter Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0139 | 7 | 8 - Back Wall | JoJo 30 Meter Extension Lead (4 Way) | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0140 | 7 | 8 - Back Wall | Brennenstuhl 25m 110 volt 2 Way Extension Lead | 0315913 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0141 | 7 | 8 - Back Wall | Masterplug 20 meter 240 volt Extension Lead | 22W1004P | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0142 | 7 | 8 - Back Wall | Masterplug 25 meter 240 volt 4 way Extension Lead | 18W2905P | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0143 | 7 | 8 - Back Wall | Masterplug 25 meter 240 volt 2 way Extension Lead | 15W04 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a |  |  | No plug socket on the end of the cable
PAT0144 | 7 | 8 - Back Wall | Masterplug 20 meter 240 volt 4 way Extension Lead | 22W1004P | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0145 | 7 | 8 - Back Wall | JoJo 10 meter 2 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0146 | 7 | 8 - Back Wall | Masterplug 240 volt 4 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0147 | 7 | 8 - Back Wall | SMJ 240 volt 4 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0148 | 7 | 8 - Back Wall | Makita GA9050 230mm Angle Grinder | 403195R | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0149 | 7 | 8 - Back Wall | Makita GA9050 230mm Angle Grinder | 227927R | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0150 | 7 | 8 - Back Wall | milwaukee m12 Battery Charger | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0151 | 7 | 8 - Back Wall | Makita 110 volt Large Impact Driver TW1000 | 133525 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0152 | 7 | 8 - Back Wall | Makita 110 volt Large Impact Driver TW1000 | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0153 | 7 | 8 - Back Wall | Makita 110 volt Large Impact Driver TW1000 | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0154 | 7 | 8 - Back Wall | Makita 110 volt Large Impact Driver TW1000 | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0155 | 7 | 8 - Back Wall | Makita 110 volt Large Impact Driver TW1000 | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0156 | 7 | 8 - Back Wall | Bosch GSB 21-2 RE 110 volt Drill | 3601A9C561 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0157 | 7 | 8 - Back Wall | Makita Rotary Hammer (mini breacher) HR2811F | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0158 | 7 | 8 - Back Wall | Makita 110 volt 230mm Angle Grinder | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0159 | 7 | 8 - Back Wall | Makita 110 volt Grinder 115mm GA4330 | 580958R | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0160 | 7 | 8 - Back Wall | Titan Heat Gun TTB773HTG | 002655 | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0161 | 7 | 8 - Back Wall | Clarke Sander / Polisher CP185 | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0162 | 7 | 8 - Back Wall | Bosch PWS 7-115 115mm Angle Grinder | n/a | Combined Test & Visual | 12 Months | 2023-08-31 | 2024-12-31 | n/a
PAT0163 | 7 | 8 - Back Wall | Bosch Template Tester 91C120C | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0164 | 7 | 8 - Back Wall | Masterplug 20 meter 4 way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0188 | 7 | 8 - Back Wall | Clarke Tower / Bench Drill | 086 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0314 | 7 | 8 - Back Wall | Yellow 110 Volts Transformer | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0105 | 8 | 8 - Test & Repair Shelving | White Magnifier Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0106 | 8 | 8 - Test & Repair Shelving | White Inspection Table Light | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0107 | 8 | 8 - Test & Repair Shelving | Orange Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0108 | 8 | 8 - Test & Repair Shelving | Hanns G Black Monitor | 832HN3BY16672 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0109 | 8 | 8 - Test & Repair Shelving | HP Desktop Computer (Black) | CZC90388KB | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0110 | 8 | 8 - Test & Repair Shelving | Flourescent Dawnlight | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a |  |  | Plug socket needs to be replaced
PAT0111 | 8 | 8 - Test & Repair Shelving | Hanns G Black Monitor | 832HN3BY15279 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0112 | 8 | 8 - Test & Repair Shelving | Samsung Black Monitor | 0307H4MFB01407K | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0113 | 8 | 8 - Test & Repair Shelving | Dell Computer Screen | CN-04RFMK-64180-5BK | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0114 | 8 | 8 - Test & Repair Shelving | Compaq Black Desktop Computer | 217127-002 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0115 | 8 | 8 - Test & Repair Shelving | NEC Computer Monitor | 2400279TB | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0116 | 8 | 8 - Test & Repair Shelving | Character Module Test Rig | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0117 | 8 | 8 - Test & Repair Shelving | Compaq Desktop Computer | 314280-001 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0118 | 8 | 8 - Test & Repair Shelving | Compaq Monitor V570 | 140BM26DA852 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0119 | 8 | 8 - Test & Repair Shelving | Black RS 4 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0120 | 8 | 8 - Test & Repair Shelving | TT Adjustable Power Supply | 322135 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0121 | 8 | 8 - Test & Repair Shelving | TT Adjustable Power Supply | 088834 | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0123 | 9 | 8 - Mezzanine Shelving | milwaukee m12 18fc Rapid Charge | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0124 | 9 | 8 - Mezzanine Shelving | Clarke Drill Bit Sharpener | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0125 | 9 | 8 - Mezzanine Shelving | DeWalt Battery Charger | n/a | Combined Test & Visual | 12 Months | 2023-08-04 | 2024-12-31 | n/a
PAT0333 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0334 | 9 | 8 - Mezzanine Shelving | Black Kettle lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0335 | 9 | 8 - Mezzanine Shelving | Black 3 pin military Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0336 | 9 | 8 - Mezzanine Shelving | Braided 4 pin military Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0337 | 9 | 8 - Mezzanine Shelving | Braided Marachel Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0338 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0339 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0340 | 9 | 8 - Mezzanine Shelving | Kettle Test Lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0341 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0342 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0343 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0344 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0345 | 9 | 8 - Mezzanine Shelving | Marechal Test lead | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0346 | 9 | 8 - Mezzanine Shelving | Draper Battery Charger | n/a | Combined Test & Visual | 12 Months | 2023-10-13 | 2024-12-31 | n/a
PAT0189 | 11 | 8 - Mezzanine Floor | White 4 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0190 | 11 | 8 - Mezzanine Floor | Golf Simulator Computer | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0191 | 11 | 8 - Mezzanine Floor | Espon Projector (Golf Simulator) | WE8K5Y01807 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0192 | 11 | 8 - Mezzanine Floor | Race for Computer SImulator | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0193 | 11 | 8 - Mezzanine Floor | Acer Black Computer Screen | MMT60EE00161200C552410 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0194 | 11 | 8 - Mezzanine Floor | White 4 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0195 | 11 | 8 - Mezzanine Floor | Weighting Scales for Deliveries | PCR-3115 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0196 | 11 | 8 - Mezzanine Floor | Beelink Intel Computer | 5095H2DH20414 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0197 | 11 | 8 - Mezzanine Floor | Wasp Label Printer | T4E21301037 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0198 | 11 | 8 - Mezzanine Floor | Elegoo 3d Printer | NEP2.21503A0171 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0199 | 11 | 8 - Mezzanine Floor | Elegoo 3d Printer | NEP2.21503A0051 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0200 | 11 | 8 - Mezzanine Floor | Sainsburys Steam Iron | 157905 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0201 | 11 | 8 - Mezzanine Floor | White Luxe magnifying light | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0202 | 11 | 8 - Mezzanine Floor | 6 Way Black Extension Lead (with USB) | 22W0207C | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0203 | 11 | 8 - Mezzanine Floor | Kettle Lead (Test Lead) | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0204 | 11 | 8 - Mezzanine Floor | Test Kettle Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0205 | 11 | 8 - Mezzanine Floor | Roadside Controller Version 2 | 198832 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0206 | 11 | 8 - Mezzanine Floor | Double Flourescent Bench Light | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0207 | 11 | 8 - Mezzanine Floor | Acer Black Computer Screen | MMT60EE00161200A512410 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0208 | 11 | 8 - Mezzanine Floor | Intel Micro Computer Microsoft | 21W4307C | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0209 | 11 | 8 - Mezzanine Floor | 6 Way Black Extension Lead (with USB) | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0210 | 11 | 8 - Mezzanine Floor | Testing Kettle Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0211 | 11 | 8 - Mezzanine Floor | Intel Micro Computer (Desktop) | B8AEED71B3EO | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0212 | 11 | 8 - Mezzanine Floor | WD Black Element 4TB External Hard Drive | VCHTlGWP | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0213 | 11 | 8 - Mezzanine Floor | Acer Black Computer Screen | MMT1UEE0016030D5558501 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0214 | 11 | 8 - Mezzanine Floor | Chinese Message Sign | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0215 | 11 | 8 - Mezzanine Floor | 8 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0216 | 11 | 8 - Mezzanine Floor | ASUS Desktop Computer (White Older Version) | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0217 | 11 | 8 - Mezzanine Floor | 4 Way Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a |  |  | Broken Plug Socket
PAT0218 | 11 | 8 - Mezzanine Floor | Primacy Electronic Card Printer | 10000842488 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0219 | 11 | 8 - Mezzanine Floor | Delta Electronic Charging Lead | F6W0645091235 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0220 | 11 | 8 - Mezzanine Floor | Huntkey Adapter | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0221 | 11 | 8 - Mezzanine Floor | HP Laptop Adapter | CT:WDVVA0B9C75LT1 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0222 | 11 | 8 - Mezzanine Floor | Switch Mode Power Supply (5 Volts - 15 Volts) | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0223 | 11 | 8 - Mezzanine Floor | Sunlu 3D Printer Heater for Filament | n/a | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0224 | 11 | 8 - Mezzanine Floor | NetGear Adaptor 8 Way GS110TP | 3R7B8A5500981 | Combined Test & Visual | 12 Months | 2023-09-18 | 2024-12-31 | n/a
PAT0225 | 11 | 8 - Mezzanine Floor | Adapter for 12 Volt Supply | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0226 | 11 | 8 - Mezzanine Floor | Green Extension Lead (Golf Supply) | n/a | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0266 | 11 | 8 - Mezzanine Floor | TOWER Air Fryer | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0267 | 11 | 8 - Mezzanine Floor | Marachel Testing Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0268 | 11 | 8 - Mezzanine Floor | Racing Car Simulator Desktop Computer | 194901029427 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0269 | 11 | 8 - Mezzanine Floor | Simucube Power Supply 48V | 00193 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0270 | 11 | 8 - Mezzanine Floor | 4 Way White Extension Lead | 200629 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0271 | 11 | 8 - Mezzanine Floor | Racing CS Acer Computer | MMTFLEE001025191F24200 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0272 | 11 | 8 - Mezzanine Floor | Racing CS Acer Computer | MMTFLEE001025192744200 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0273 | 11 | 8 - Mezzanine Floor | Racing CS Acer Computer | MMTFLEE0010251930F4200 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0274 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007975 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0275 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007959 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0276 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007967 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0277 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | XXUNBHA000695 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0278 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A008424 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0279 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A008017 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0280 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007983 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0281 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007973 | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0282 | 11 | 8 - Mezzanine Floor | Apple Laptop Charging Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-20 | 2024-12-31 | n/a
PAT0283 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A008418 | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0284 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007979 | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0285 | 11 | 8 - Mezzanine Floor | Charging lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0286 | 11 | 8 - Mezzanine Floor | Apple Laptop Charger | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0287 | 11 | 8 - Mezzanine Floor | Netgear Multibox | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0288 | 11 | 8 - Mezzanine Floor | Desk 12 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0289 | 11 | 8 - Mezzanine Floor | Desk 11 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0290 | 11 | 8 - Mezzanine Floor | Desk 10 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0291 | 11 | 8 - Mezzanine Floor | Desk 09 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0292 | 11 | 8 - Mezzanine Floor | Desk 08 | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0293 | 11 | 8 - Mezzanine Floor | Desk 07 | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0294 | 11 | 8 - Mezzanine Floor | Apple Laptop Charger | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0295 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A008635 | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0296 | 11 | 8 - Mezzanine Floor | Black AOC Computer Screen | AWSM61A007981 | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0297 | 11 | 8 - Mezzanine Floor | Black Adapter | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0298 | 11 | 8 - Mezzanine Floor | Amazon Alexa Charger | 9091AA0810960P7H | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0299 | 11 | 8 - Mezzanine Floor | LB Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0300 | 11 | 8 - Mezzanine Floor | Apple Adapter Laptop Charger | C02QX3B398WN | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0301 | 11 | 8 - Mezzanine Floor | Zebra Label Printer | D5J223505619 | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0302 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0303 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0304 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0305 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0306 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0307 | 11 | 8 - Mezzanine Floor | Desk 6 Extension Lead | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0308 | 11 | 8 - Mezzanine Floor | Netgear 8 Way | n/a | Combined Test & Visual | 12 Months | 2023-09-22 | 2024-12-31 | n/a
PAT0309 | 11 | 8 - Mezzanine Floor | Air master 16/550 Turbo | n/a | Combined Test & Visual | 12 Months | 2023-09-25 | 2024-12-31 | n/a
PAT0228 | 12-A1 | 8 - Office | AOC Black Computer Monitor Back Row | AWRN11A001045 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0229 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWRN11A001095 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0230 | 12-A1 | 8 - Office | Kyocera Printer / Scanner | Q1A13A4845 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0231 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A00797 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0232 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A007977 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0233 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A0007961 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0234 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A0007963 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0235 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWRN11A0001087 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0236 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWRN11A0001321 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0237 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A007987 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0238 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A007993 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0239 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A0008428 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0240 | 12-A1 | 8 - Office | AOC Black Computer Monitor | AWSM61A0008416 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0227 | 12-A2 | 8 - Meeting Room | Clover Water Cooler | 18090216 | Combined Test & Visual | 12 Months | 2023-09-19 | 2024-12-31 | n/a
PAT0073 | 12-A3 | 8 - Kitchen | Breville Toaster | H254HA | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0074 | 12-A3 | 8 - Kitchen | Russell Hobbs Kettle | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0075 | 12-A3 | 8 - Kitchen | Russel Hobbs Microwave | 028440025 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0076 | 12-A3 | 8 - Kitchen | Phillips Coffee Machine | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0077 | 12-A3 | 8 - Kitchen | Whirlpool Dishwasher | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0078 | 12-A3 | 8 - Kitchen | Zanussi Washing Machine | 80400139 | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0079 | 12-A3 | 8 - Kitchen | Kenwood Fridge / Freezer | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0080 | 12-A3 | 8 - Kitchen | Indesit Microwave Oven (built in) | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0081 | 12-A3 | 8 - Kitchen | Candy Kitchen Induction Cooler | n/a | Combined Test & Visual | 12 Months | 2023-08-02 | 2024-12-31 | n/a
PAT0170 | 16-A1 | 9 - Training Office | Clover Water Cooler | 18090175 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0171 | 16-A1 | 9 - Training Office | Clarke Portable Room Heater | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a |  |  | Heater legs unstable + no power
PAT0172 | 16-A1 | 9 - Training Office | Fellowes Paper Shredder | CRC46062 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0173 | 16-A1 | 9 - Training Office | MSA Charger for Gas monitors | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0174 | 16-A1 | 9 - Training Office | Drager X-am 5000 Charger for Gas Monitors | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0175 | 16-A1 | 9 - Training Office | White table fan Morrisons | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0176 | 16-A1 | 9 - Training Office | Logik 4 Way 3 Meter Extension | 1548060187 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0177 | 16-A1 | 9 - Training Office | Black Nox Computer Screen | 99HH5HA037088 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0178 | 16-A1 | 9 - Training Office | Baolong Walkie Talkie Charger | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0179 | 16-A1 | 9 - Training Office | Baolong Walkie Talkie Charger | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0180 | 16-A1 | 9 - Training Office | Retchuk 6 Bay charging bay for Walkie Talkie | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0181 | 16-A1 | 9 - Training Office | Kyocera Printer / Scanner | 1620 22-17 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0166 | 16-A3 | 9 - Training Kitchen | Training Room Kitchen Morphy Richards | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0167 | 16-A3 | 9 - Training Kitchen | Training room Kenwood Microwave | EB04209750217B05110131 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0168 | 16-A3 | 9 - Training Kitchen | White Free Standing Fridge | C50TW15 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0169 | 16-A3 | 9 - Training Kitchen | Small White Heater | 22W2502580 | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0330 | 16-A3 | 9 - Training Kitchen | Roller shutter door number 9 reception area | n/a | Combined Test & Visual | 12 Months | 2023-10-05 | 2024-12-31 | n/a
PAT0331 | 16-A3 | 9 - Training Kitchen | Roller shutter door number 8 reception area | n/a | Combined Test & Visual | 12 Months | 2023-10-05 | 2024-12-31 | n/a
PAT0332 | 16-A3 | 9 - Training Kitchen | Electria mobile air conditioner unit | P15C2301000502 | Combined Test & Visual | 12 Months | 2023-10-05 | 2024-12-31 | n/a
PAT0165 | 16-A4 | 9 - Training Room Downstairs | Training Room Television | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0182 | 16-A5 | 9 - Training Room Upstairs | Brandson Black Room Fan | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0183 | 16-A5 | 9 - Training Room Upstairs | Hydro Wall Mounted Radiator | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0184 | 16-A5 | 9 - Training Room Upstairs | Apple Mac Mini Computer | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0185 | 16-A5 | 9 - Training Room Upstairs | Hydro Wall Mounted Radiator | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0186 | 16-A5 | 9 - Training Room Upstairs | Dimplex Portable Fan (Grey) | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0187 | 16-A5 | 9 - Training Room Upstairs | Brandson Black Room Fan | n/a | Combined Test & Visual | 12 Months | 2023-09-01 | 2024-12-31 | n/a
PAT0310 | 16-A6 | 9 - Training Toilet | hand dryer bathroom training unit magnum | n/a | Combined Test & Visual | 12 Months | 2023-09-27 | 2024-12-31 | n/a
PAT0315 | 18 | - Vehicles | Infratec Confined Space Trailer 1 Meter Extension Lead |  | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0316 | 18 | - Vehicles | Masterplug 20 meter extension lead | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0317 | 18 | - Vehicles | Zhiaida Wifi Wireless Amp. | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0318 | 18 | - Vehicles | Camera 1 in Trailer | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0319 | 18 | - Vehicles | Camera 2 | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0320 | 18 | - Vehicles | Camera 3 | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0321 | 18 | - Vehicles | Camera 4 | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0322 | 18 | - Vehicles | Camera 5 | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0323 | 18 | - Vehicles | Camera 6 | n/a | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a |  |  | Confined Space Trailer
PAT0324 | 18 | - Vehicles | De Volt Bolt Charger | K523VSO | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0325 | 18 | - Vehicles | De Volt Bolt Charger | NU68YHL | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0326 | 18 | - Vehicles | De Volt Bolt Charger | BL67BXH | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0327 | 18 | - Vehicles | Panasonic Toughbook 2 | 89KCB80287 | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0328 | 18 | - Vehicles | Panasonic Toughbook 007 | 3JKCA51296 | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a
PAT0329 | 18 | - Vehicles | De Volt Bolt Charger | BL67BXG | Combined Test & Visual | 12 Months | 2023-09-29 | 2024-12-31 | n/a

## Locations
Zone | Unit | Description | Name
1 | 8 | Deliveries | 8 - Deliveries
2 | 8 | Main Wall | 8 - Main Wall
3 | 8 | Shop Floor | 8 - Shop Floor
4 | 8 | Stock Room | 8 - Stock Room
5 | 8 | Test & Repair Room | 8 - Test & Repair Room
6 | 8 | Specialist Tools | 8 - Specialist Tools
7 | 8 | Back Wall | 8 - Back Wall
8 | 8 | Test & Repair Shelving | 8 - Test & Repair Shelving
9 | 8 | Mezzanine Shelving | 8 - Mezzanine Shelving
10 | 8 | Mezzanine Back Wall | 8 - Mezzanine Back Wall
11 | 8 | Mezzanine Floor | 8 - Mezzanine Floor
12-A1 | 8 | Office | 8 - Office
12-A6 | 8 | Office Roof | 8 - Office Roof
12-A2 | 8 | Meeting Room | 8 - Meeting Room
12-A3 | 8 | Kitchen | 8 - Kitchen
12-A5 | 8 | Reception | 8 - Reception
12-A4 | 8 | Toilet | 8 - Toilet
13 | 9 | Back Wall | 9 - Back Wall
14 | 9 | AVL Adjoining Wall | 9 - AVL Adjoining Wall
15 | 9 | Training shelving | 9 - Training shelving
16-A1 | 9 | Training Office | 9 - Training Office
16-A4 | 9 | Training Room Downstairs | 9 - Training Room Downstairs
16-A5 | 9 | Training Room Upstairs | 9 - Training Room Upstairs
16-A3 | 9 | Training Kitchen | 9 - Training Kitchen
16-A2 | 9 | Training reception | 9 - Training reception
16-A6 | 9 | Training Toilet | 9 - Training Toilet
17 | 9 | Shop Floor | 9 - Shop Floor
18 |  | Vehicles | - Vehicles
19 |  | Container | - Container