## Summary
FIRE SAFETY AND MAINTENANCE LOG BOOK
This Fire Safety Log book has been prepared to assist the ‘responsible person’ in co-ordinating and maintaining a fire safety record keeping system.
There is no statutory requirement to maintain a Fire Safety Log Book, but Article 17 of the Regulatory Reform (Fire Safety) Order 2005 requires the ‘responsible person’ for premises to ensure that all fire safety facilities, equipment and devices are maintained in efficient working order and in good repair.
Additionally, Article 21 states that where there are employees, they should be provided with adequate safety training. The Order also requires that tests, maintenance and safety training are capable of being audited to ensure they are being carried out.
The most effective way of demonstrating compliance with these particular Articles is to keep records, and a Log Book is one way of doing it. Whilst this book is not comprehensive it seeks to cover the main requirements for demonstrating compliance with current fire safety legislation.
The log book should be kept up to date and be readily available for inspection by the Fire and Rescue service when required. It is best practice to keep it with any records relating to your current Fire Safety Risk Assessment.
It is strongly recommended that where necessary, maintenance contracts are taken out with competent persons (e.g. those registered with NICEIC or ECA for electrical maintenance or registered with BAFE for fire fighting equipment).
CONTENTS
INFORMATION ON PREMISES & RESPONSIBLE PERSONS
STAFF FIRE SAFETY PROCEDURES
MEANS OF ESCAPE
FIRE DRILLS
FIRE EXTINGUISHERS
FIRE ALARM SYSTEM - WEEKLY TEST
FIRE ALARM SYSTEM - 6 MONTHLY INSPECTION TEST
DOOR RELEASES
EMERGENCY LIGHTING SYSTEM
TELEPHONE CONTACTS

## Premises & Responsible Persons
PREMISES
Address | Unit 8-9 Easter Park Barton Road Middlesbrough TS2 1RY
Use of Premises | Light industrial warehouse and offices
Date of Issue | 2023-06-01
LIST OF RESPONSIBLE PERSONS
Name | Job Title | Telephone
David Bullock | Managing Director | 07798 704818
Lee Ratcliff | Operations Director | 07970 813422
Lee Bullock | Fire Warden | 07896 231105
Paul Rye | Fire Warden | 07816 898196

## Staff Fire Safety Procedures
STAFF FIRE SAFETY PROCEDURES
Instruction and training should be carried out by a competent person covering the following items preferably with practical exercises where possible:
1 | The action to take on discovering a fire.
2 | How to raise the alarm and the procedures this sets in motion.
3 | The action to be taken upon hearing the alarm.
4 | The procedure for alerting members of the public.
5 | The arrangements for calling the Fire Brigade.
6 | The evacuation procedure for the premises to an assembly point at a place of safety.
7 | The location and use of fire fighting equipment.
8 | The location of escape routes.
9 | The reason for not using lifts other than those specifically provided or adapted for use by people with disabilities in accordance with BS9999.
10 | General fire precautions and good housekeeping.
IMD043 Fire and Emergency Evacuation Plan identifies these Fire Safety Procedures in more detail
Individual training records are recorded on SkillStation

## Means of Escape
MEANS OF ESCAPE
All parts of the premises providing means of escape from it in the event of fire should be maintained in good order to ensure that they can be safely and effectively used as a means of escape at all material times.
The Regulatory Reform Order asks that the means of escape can be safely and effectively used at all times.
It is therefore recommended that regular inspections be carried out at least monthly.
Records of inspections are made as part of the monthly IMD023 Health & Safety Inspection Checklist checks

## Fire Drills
FIRE DRILLS
A fire drill should be carried out at least once per year, preferably more if deemed necessary.
Conditions should be simulated in which one or more of the escape routes from the building are obstructed.
During these drills a member of staff who is told of the supposed outbreak should operate the fire alarm, and thereafter the fire routine should be rehearsed as fully as circumstances allow.
Date | Full / Part Evacuation | Time Initiated | Time take to Evacuate (mins) | No of People Present | Defects
2023-10-13 | Full | 10:06 | 2m 16s | 14
2024-10-29 | Full | 16:14 | 1m 14s | 4

## Fire Extinguishers
FIRE EXTINGUISHERS
British Standard BS5306: Part 3 & 8 is the Code of practice for Fire Extinguishing Installations and Equipment on premises
Routine Inspection
The Standard recommends the frequency of inspection should be not less than quarterly, and preferably at least monthly. Inspection should be as follows:
1 | All appliances should be in their proper position and fitted to the wall.
2 | All Appliances should be checked for damage and / or discharge
3 | All Appliances should be free from obstruction
Records of monthly inspections are made as part of the monthly IMD023 Health & Safety Inspection Checklist checks
Annual Maintenance
The Standard recommends an annual service should be carried out by a competent person capable of conducting maintenance according to the recommendations of the code and preferably employed by a company accredited to ISO 9000 Quality System. In most cases the servicing contractor usually carries this out.
Records of annual inspections are held and managed as part of the Assets & Preventative Maintenance Register

## Fire Alarm System - Wkly Insp
FIRE ALARM SYSTEM - WEEKLY TEST
British Standard 5839: 1 recommends the following procedures in order to maintain the fire alarm system.
Weekly fire alarm test
A manual call point should be operated during normal working hours to confirm that the control panel is capable of processing a fire alarm signal and providing an output to the sounders and also that, if connected, that the alarm receiving centre is receiving the signals. It is essential that the ARC is contacted immediately before and after the test so that unwanted alarms are avoided. Keep a record of the connection type, user ID, ARC station and contact number.
Date | Manual Call Point (MCP) Used | System | Satisfactory (Yes/No) | Faults Found | Action Taken
2023-10-12 | CP-1 | FAS-U8 | Yes
2023-10-12 | CP-7 | FAS-U9 | Yes
2023-10-20 | CP-1 | FAS-U8 | Yes
2023-10-20 | CP-7 | FAS-U9 | Yes
2023-10-27 | CP-1 | FAS-U8 | Yes
2023-11-03 | CP-2 | FAS-U8 | Yes
2023-11-10 | CP-1 | FAS-U8 | Yes
2023-11-10 | CP-7 | FAS-U9 | Yes
2023-11-17 | CP-1 | FAS-U8 | Yes
2023-11-17 | CP-7 | FAS-U9 | Yes
2023-11-24 | CP-1 | FAS-U8 | Yes
2023-11-24 | CP-7 | FAS-U9 | Yes
2023-12-01 | CP-1 | FAS-U8 | Yes
2023-12-01 | CP-7 | FAS-U9 | Yes
2023-12-08 | CP-1 | FAS-U8 | Yes
2023-12-08 | CP-7 | FAS-U9 | Yes
2023-12-15 | CP-2 | FAS-U8 | Yes
2023-12-15 | CP-7 | FAS-U9 | Yes
2024-01-05 | CP-1 | FAS-U8 | Yes
2024-01-05 | CP-7 | FAS-U9 | Yes
2024-01-12 | CP-1 | FAS-U8 | Yes
2024-01-12 | CP-7 | FAS-U9 | Yes
2024-01-19 | CP-1 | FAS-U8 | Yes
2024-01-19 | CP-7 | FAS-U9 | Yes
2024-01-26 | CP-1 | FAS-U8 | Yes
2024-01-26 | CP-7 | FAS-U9 | Yes
2024-02-02 | CP-1 | FAS-U8 | Yes
2024-02-02 | CP-7 | FAS-U9 | Yes
2024-02-09 | CP-3 | FAS-U8 | Yes
2024-02-09 | CP-1 | FAS-U8 | Yes
2024-02-23 | CP-7 | FAS-01 | Yes
2024-03-08 | CP-7 | FAS-01 | Yes
2024-03-15 | CP-3 | FAS-01 | Yes
2024-03-22 | CP-1 | FAS-01 | Yes
2024-05-03 | CP-3 | FAS-01 | Yes
2024-05-10 | CP-1 | FAS-01 | Yes
2024-05-17 | CP-7 | FAS-01 | Yes
2024-05-17 | CP-1 | FAS-01 | Yes
2024-05-24 | CP-1 | FAS-01 | Yes
2024-06-07 | CP-7 | FAS-01 | Yes
2024-06-14 | CP-7 | FAS-01 | Yes
2024-06-28 | CP-1 | FAS-01 | Yes
2024-07-05 | CP-7 | FAS-01 | Yes
2024-07-12 | CP-1 | FAS-01 | Yes
2024-07-19 | CP-3 | FAS-01 | Yes
2024-07-26 | CP-7 | FAS-01 | Yes
2024-08-02 | CP-3 | FAS-01 | Yes
2024-08-16 | CP-1 | FAS-01 | Yes
2024-08-23 | CP-7 | FAS-01 | Yes
2024-09-13 | CP-7 | FAS-01 | Yes
2024-09-20 | CP-3 | FAS-01 | Yes
2024-10-04 | CP-1 | FAS-01 | Yes
2024-10-11 | CP-7 | FAS-01 | Yes
2024-10-18 | CP-7 | FAS-01 | Yes
2024-10-25 | CP-3 | FAS-01 | Yes
2024-11-01 | CP-7 | FAS-01 | Yes
2024-11-08 | CP-7 | FAS-01 | Yes

## Fire Alarm System - Wk (BLANK)
FIRE ALARM SYSTEM - WEEKLY TEST
British Standard 5839: 1 recommends the following procedures in order to maintain the fire alarm system.
Weekly fire alarm test
A manual call point should be operated during normal working hours to confirm that the control panel is capable of processing a fire alarm signal and providing an output to the sounders and also that, if connected, that the alarm receiving centre is receiving the signals. It is essential that the ARC is contacted immediately before and after the test so that unwanted alarms are avoided. Keep a record of the connection type, user ID, ARC station and contact number.
Date | Manual Call Point (MCP) Used | System | Satisfactory (Yes/No) | Faults Found | Action Taken
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01
FAS-01

## Fire Alarm System - 6mth Insp
FIRE ALARM SYSTEM - 6 MONTHLY INSPECTION
British Standard 5839: 1 recommends the following procedures in order to maintain the fire alarm system.
Six monthly inspection and test of system, normally carried out by the servicing contractor
Records of 6 monthly inspections are held and managed as part of the Assets & Preventative Maintenance Register
Date | System | Satisfactory (Yes/No) | Faults Found | Action Taken
2023-06-26 | FAS-U8 | Yes
2023-10-09 | FAS-U9 | Yes |  | Replaced batteries
2024-02-15 | FAS-01 | Yes |  | System now aligned. Units 8,9 & 10
2024-04-25 | FAS-01 | Yes | None
2024-10-28 | FAS-01 | Yes | None

## Door Release - Wkly
DOOR RELEASE - WEEKLY TEST
A manual call point check each week to ensure the door release system operates in case of an emergency.
Date | Door | Satisfactory (Yes/No) | Faults Found | Action Taken
2023-10-12 | DR-1-U8 | Yes
2023-10-12 | DR-2-U9 | Yes
2023-10-20 | DR-1-U8 | Yes
2023-10-20 | DR-2-U9 | Yes
2023-10-27 | DR-1-U8 | Yes
2023-11-03 | DR-1-U8 | Yes
2023-11-03 | DR-2-U9 | Yes
2023-11-10 | DR-2-U9 | Yes
2023-11-10 | DR-1-U8 | Yes
2023-11-17 | DR-1-U8 | Yes
2023-11-17 | DR-2-U9 | Yes
2023-12-01 | DR-1-U8 | Yes
2023-12-01 | DR-2-U9 | Yes
2023-12-08 | DR-1-U8 | Yes
2023-12-08 | DR-2-U9 | Yes
2023-12-15 | DR-1-U8 | Yes
2023-12-15 | DR-2-U9 | Yes
2024-01-05 | DR-1-U8 | Yes
2024-01-05 | DR-2-U9 | Yes
2024-01-12 | DR-1-U8 | Yes
2024-01-12 | DR-2-U9 | Yes
2024-01-19 | DR-1-U8 | Yes
2024-01-19 | DR-2-U9 | Yes
2024-01-26 | DR-1-U8 | Yes
2024-01-26 | DR-2-U9 | Yes
2024-02-02 | DR-1-U8 | Yes
2024-02-02 | DR-2-U9 | Yes
2024-02-09 | DR-1-U8 | Yes
2024-02-09 | DR-2-U9 | Yes
2024-02-23 | DR-1-U8 | Yes
2024-02-23 | DR-2-U9 | Yes
2024-03-08 | DR-1-U8 & DR-2-U9 | Yes
2024-03-15 | DR-1-U8 & DR-2-U9 | Yes
2024-03-22 | DR-1-U8 & DR-2-U9 | Yes
2024-05-03 | DR-1-U8 & DR-2-U9 | Yes
2024-05-10 | DR-1-U8 & DR-2-U9 | Yes
2024-05-17 | DR-1-U8 & DR-2-U9 | Yes
2024-05-17 | DR-1-U8 & DR-2-U9 | Yes
2024-05-24 | DR-1-U8 & DR-2-U9 | Yes
2024-06-07 | DR-1-U8 & DR-2-U9 | Yes
2024-06-14 | DR-1-U8 & DR-2-U9 | Yes
2024-06-28 | DR-1-U8 & DR-2-U9 | Yes
2024-07-05 | DR-1-U8 & DR-2-U9 | Yes
2024-07-12 | DR-1-U8 & DR-2-U9 | Yes
2024-07-19 | DR-1-U8 & DR-2-U9 | Yes
2024-07-26 | DR-1-U8 & DR-2-U9 | Yes
2024-08-02 | DR-1-U8 & DR-2-U9 | Yes
2024-08-16 | DR-1-U8 & DR-2-U9 | Yes
2024-08-23 | DR-1-U8 & DR-2-U9 | Yes
2024-09-13 | DR-1-U8 & DR-2-U9 | Yes
2024-09-20 | DR-1-U8 & DR-2-U9 | Yes
2024-10-04 | DR-1-U8 & DR-2-U9 | Yes
2024-10-11 | DR-1-U8 & DR-2-U9 | Yes
2024-10-18 | DR-1-U8 & DR-2-U9 | Yes
2024-10-25 | DR-1-U8 & DR-2-U9 | Yes
2024-11-01 | DR-1-U8 & DR-2-U9 | Yes
2024-11-08 | DR-1-U8 & DR-2-U9 | Yes

## Door Release - Wkly (BLANK)
DOOR RELEASE - WEEKLY TEST
A manual call point check each week to ensure the door release system operates in case of an emergency.
Date | Door | Satisfactory (Yes/No) | Faults Found | Action Taken

## Emergency Lighting
EMERGENCY LIGHTING - ANNUAL INSPECTION
British Standard 5266: Part 1 recommends the following procedures in order to properly maintain the Emergency Lighting System.
1 | Daily inspection of L.E.D.’s ( Light Emitting Diodes)
Daily inspections are carried out as part of the Opening/Closing process of the premises
2 | Monthly inspection by the user or servicing contractor - Simulate a failure of the normal lighting supply for sufficient time to allow all luminaires to be checked for correct operation. Check each luminaire for cleanliness and general condition.
Records of monthly inspections are made as part of the monthly IMD023 Health & Safety Inspection Checklist checks
3 | 3. Annual inspection and test, normally carried out by servicing contractor - Simulate a failure of the normal lighting supply for the full duration of the battery and carry out a check of the charging arrangements to ensure proper functioning.
Records of annual inspections are held and managed as part of the Assets & Preventative Maintenance Register
| Date | System | Satisfactory (Yes/No) | Faults Found | Action Taken
| 2023-10-06 | FAS-U9 | Yes | Power to be restored in adjacent wc running man
| 2024-02-15 | FAS-U8 | Yes | 1 x replacement spot LED, EML unti 8 entrance lobby
| 2024-10-28 | FAS-U8 | Yes
| 2024-10-28 | FAS-U9 | No | 1 x failed | Quoted for repair
| 2024-11-21 | FAS-U9 | Yes |  | replaced faulty LED spot

## Telephone Contacts
TELEPHONE CONTACTS
Name | Job Title | Telephone
David Bullock | Managing Director | 07798 704818
Lee Ratcliff | Operations Director | 07970 813422
Lee Bullock | Fire Warden | 07896 231105
Paul Rye | Fire Warden | 07816 898196
H.E. Woolley | Fire Protection Contractor | 01642 247337