## Sheet1
RISK ASSESSMENT
Document No: | IMD010
Revision No: | 1
Issue No: | 1:2023
Original Date | 2023-10-06 |  |  |  |  | Review Date | 2026-10-06 |  |  | Ref No |  | RA001 |  |  | Rev | 1
Area/Activity | Ladder - access equipment
Risk Assessment Participants | Helen Medcalf/Paul Rye
Comments
Persons affected by the hazards | Employees - Operators. Others - Those in the vicinity of operation.
Duration of the activity | Infrequent
What are the Hazards/Aspects |  | Who is at Risk |  |  |  | Risk/Impact | Risk Rating |  |  | Hierarcy |  |  |  |  | Risk/Impact Control Measures | Residual Risk
|  | Employees | Environment | Client / Contractor | Others |  | L | S | RR | E | S | EC | AC | P |  | L | S | RR
Falling from Height |  | X |  |  | X | The primary risk associated with using a ladder is the potential for individuals to fall from height, leading to injuries ranging from minor bruises to severe fractures or even fatalities. | 2 | 4 | 8 |  |  | X | X |  | Training: All users are trained in ladder safety and working at heights. All users need to ensure the appropriate ladder type and size is used. The ladder should be placed on a stable and level surface and have anti-slip feet. Three points of contact must be maintained at all times and should never overreach. | 1 | 4 | 4
Improper Ladder Placement: |  | X |  |  | X | Ladders might be placed on uneven surfaces or in areas with high foot traffic, which increases the risk of the ladder shifting or falling. | 2 | 4 | 8 |  |  | X | X |  | Training: All users are trained in ladder safety and working at heights. All users need to ensure the appropriate ladder type and size is used. The ladder should be placed on a stable and level surface and have anti-slip feet. Three points of contact must be maintained at all times and should never overreach. Environment: All users need to ensure they carry out a pre-use assessment of the work area to ensure it's clear of obstacles and hazards and mark off area with barriers for foot traffic. | 1 | 4 | 4
Overreaching and Unstable Positioning: |  | X |  |  | X | Users might overreach while on the ladder, causing it to become unbalanced and potentially leading to a fall. | 2 | 4 | 8 |  |  | X | X |  | Training: All users are trained in ladder safety and working at heights. All users need to ensure the appropriate ladder type and size is used. The ladder should be placed on a stable and level surface and have anti-slip feet. Three points of contact must be maintained at all times and should never overreach. | 1 | 4 | 4
Inadequate Ladder Inspection: |  | X |  |  | X | Ladders that have not been regularly inspected for defects such as loose rungs, corroded parts, or damaged locking mechanisms can pose a significant risk. | 2 | 4 | 8 |  |  | X | X |  | Inspection: All ladders receive a bi-annual inspection by a trained designated personnel. All ladders are tagged with inspection date and who carried out inspection. Any damaged ladders tag are removed to indicate the ladder is not to be used and out of service until repair can be made. All users should carry out a pre-use check before using any ladder. | 1 | 4 | 4
Likelihood (L) x Severity (S) = Risk Rating (RR)
Hierarcy of Controls
E | Elimination | [5 empty] | Risk Rating L: The most effective way to prevent harm. If a hazard is eliminated from a workplace, it cannot cause harm.
S | Substitution | [5 empty] | Risk Rating L: Finding safer alternatives to existing hazards
EC | Engineering Controls | [5 empty] | Risk Rating L: Engineering measures to isolate hazards that separate workers from the hazards
AC | Administrative Controls | [5 empty] | Risk Rating L: Shift focus from the hazard to managing the human element involved in risk. Training and awareness are the focus of administrative controls. Signage, SSOW etc..
P | Personal Protective Equipment (PPE) | [5 empty] | Risk Rating L: PPE is usually considered the last line in a hierarchy of controls. PPE includes safety equipment like dust masks, coveralls, gloves, eye protection suits, and others.
Risk Rating
Likelihood | 4 | 4 | 8 | 12 | 16 |  | Risk Rating L: 12 - 16 = High; Hierarcy E: Stop immediately! Risk is too high and not acceptable. Suitable and sufficient risk control measures must be in implemented. Alternative working practices should be used.
| 3 | 3 | 6 | 9 | 12 |  | Risk Rating L: 6 - 9 = Medium - High; Hierarcy E: Requires immediate attention to bring the risk down to an acceptable level.
| 2 | 2 | 4 | 6 | 8 |  | Risk Rating L: 3 - 4 = Medium; Hierarcy E: Tolerable, more control is practicable. Approval from relevant supervisory level required
| 1 | 1 | 2 | 3 | 4 |  | Risk Rating L: 1 - 2 = Low - Medium; Hierarcy E: Level of risk satisfactory. Work to proceed following safe system of work & monitor for changes.
Severity |  | 1 | 2 | 3 | 4
Likelihood | 4 | Likely |  |  |  | Severity | Risk Rating L: 4; Risk Rating S: Major
| 3 | Probable |  |  |  |  | Risk Rating L: 3; Risk Rating S: Serious; Hierarcy P: Signed Originator: | Helen Medcalf
| 2 | Possible |  |  |  |  | Risk Rating L: 2; Risk Rating S: Minor; Hierarcy P: Title: | Business Administrator
| 1 | Remote |  |  |  |  | Risk Rating L: 1; Risk Rating S: Negligible; Hierarcy P: Date: | 2023-10-06