## Sheet1
RISK ASSESSMENT
Document No: | IMD010
Revision No: | 1
Issue No: | 1:2023
Original Date | 2023-09-20 |  |  |  |  | Review Date | 2026-09-20 |  |  | Ref No |  | RA012 |  |  | Rev | 1
Area/Activity | Walkways and Gangways
Risk Assessment Participants | Helen Medcalf and Paul Rye
Comments
Persons affected by the hazards | Employee- Operators
Duration of the activity | Frequent
What are the Hazards/Aspects |  | Who is at Risk |  |  |  | Risk/Impact | Risk Rating |  |  | Hierarcy |  |  |  |  | Risk/Impact Control Measures | Residual Risk
|  | Employees | Environment | Client / Contractor | Others |  | L | S | RR | E | S | EC | AC | P |  | L | S | RR
Surface Condition |  | X |  |  |  | Condition of the walkways and gangways, looking for uneven surfaces, cracks, potholes, loose tiles, or slippery surfaces, all of which could result in injury. | 2 | 3 | 6 |  |  | X | X |  | Regular Inspection: Daily visual inspections take place to identify and address any surface defects, such as cracks, potholes, or loose tiles promptly. Repair and Maintenance: Damaged surfaces are repaired promptly and maintained in good condition. Slip Resistance: Walkway surfaces have the appropriate traction to prevent slips, especially in areas prone to wet or slippery conditions. Warning Signs: Clear and visible warning signs to indicate potential hazards are in place, such as uneven surfaces, steps, or ramps. User Training: Workers are given training on safe walking practices, awareness of hazards, and the use of handrails or guardrails. Reporting System: All workers are encouraged to report any hazards, defects, or incidents related to walkways and gangways to the Unit Manager for prompt repair. | 1 | 3 | 3
Environmental Factors |  | X |  |  |  | Factors such as weather conditions (rain, snow, ice), poor lighting, or obstructed visibility that may affect the safety of the walkways and gangways which could result in injury. | 2 | 3 | 6 |  |  | X | X |  | Slip Resistance: All walkway surfaces are to have the appropriate traction to prevent slips, especially in areas prone to wet or slippery conditions. User Training: Workers are given training on safe walking practices, awareness of hazards, and the use of handrails or guardrails. Reporting System: All users are encouraged to report any hazards, defects, or incidents related to walkways and gangways to the Unit Manager for prompt repair. | 1 | 3 | 3
Trip Hazards |  | X |  |  |  | Potential trip hazards, such as loose cables, debris, obstacles, or unmarked level changes which could all result in injury. | 2 | 3 | 6 |  |  | X | X |  | Clear Obstructions: All obstacles, debris, or loose cables that may pose a trip hazard. Lighting: All lighting is adequate along walkways and gangways to ensure visibility at all times. User Training: Workers are given training on safe walking practices, awareness of hazards, and the use of handrails or guardrails. Reporting System: All users are encouraged to report any hazards, defects, or incidents related to walkways and gangways to the Unit Manager for prompt repair. | 1 | 3 | 3
Structural Integrity |  | X |  |  |  | Structural integrity of the walkways and gangways, including handrails, guardrails, steps, ramps, or platforms, to ensure they meet safety standards. | 2 | 3 | 6 |  |  | X | X |  | Warning Signs: There are clear and visible warning signs to indicate potential hazards are in place, such as uneven surfaces, steps, or ramps. Floor Markings: Floors have markings or tape to clearly delineate walkways, ramps, or restricted areas. Handrails and Guardrails: There are handrails and guardrails along walkways, and stairs to ensure Step and Railing Visibility: Steps are clearly marked, and handrails are easily visible for guidance and support. User Training: Workers are given training on safe walking practices, awareness of hazards, and the use of handrails or guardrails. Reporting System: All users are encouraged to report any hazards, defects, or incidents related to walkways and gangways to the Unit Manager for prompt repair. | 1 | 3 | 3
Likelihood (L) x Severity (S) = Risk Rating (RR)
Hierarcy of Controls
E | Elimination | [5 empty] | Risk Rating L: The most effective way to prevent harm. If a hazard is eliminated from a workplace, it cannot cause harm.
S | Substitution | [5 empty] | Risk Rating L: Finding safer alternatives to existing hazards
EC | Engineering Controls | [5 empty] | Risk Rating L: Engineering measures to isolate hazards that separate workers from the hazards
AC | Administrative Controls | [5 empty] | Risk Rating L: Shift focus from the hazard to managing the human element involved in risk. Training and awareness are the focus of administrative controls. Signage, SSOW etc..
P | Personal Protective Equipment (PPE) | [5 empty] | Risk Rating L: PPE is usually considered the last line in a hierarchy of controls. PPE includes safety equipment like dust masks, coveralls, gloves, eye protection suits, and others.
Risk Rating
Likelihood | 4 | 4 | 8 | 12 | 16 |  | Risk Rating L: 12 - 16 = High; Hierarcy E: Stop immediately! Risk is too high and not acceptable. Suitable and sufficient risk control measures must be in implemented. Alternative working practices should be used.
| 3 | 3 | 6 | 9 | 12 |  | Risk Rating L: 6 - 9 = Medium to High; Hierarcy E: Requires immediate attention to bring the risk down to an acceptable level.
| 2 | 2 | 4 | 6 | 8 |  | Risk Rating L: 3 - 4 = Medium to Low; Hierarcy E: Tolerable, more control is practicable. Approval from relevant supervisory level required
| 1 | 1 | 2 | 3 | 4 |  | Risk Rating L: 1 - 2 = Low; Hierarcy E: Level of risk satisfactory. Work to proceed following safe system of work & monitor for changes.
Severity |  | 1 | 2 | 3 | 4
Likelihood | 4 | Likely |  |  |  | Severity | Risk Rating L: 4; Risk Rating S: Major
| 3 | Probable |  |  |  |  | Risk Rating L: 3; Risk Rating S: Serious; Hierarcy P: Signed Originator: | Helen Medcalf
| 2 | Possible |  |  |  |  | Risk Rating L: 2; Risk Rating S: Minor; Hierarcy P: Title: | Business Administrator
| 1 | Remote |  |  |  |  | Risk Rating L: 1; Risk Rating S: Negligible; Hierarcy P: Date: | 2023-09-20