## Sheet1
Original Date | 2025-07-10 |  |  |  |  | Review Date | 10/07/258 |  |  | Ref No |  | RA028 |  |  | Rev | 1
Area/Activity | Portable Appliance Testing (PAT)
Risk Assessment Participants | Paul Rye
Comments
Persons affected by the hazards | Employees, PAT Technicians, Contractors, Visitors
Duration of the activity | Infrequent
What are the Hazards/Aspects |  | Who is at Risk |  |  |  | Risk/Impact | Risk Rating |  |  | Hierarcy |  |  |  |  | Risk/Impact Control Measures | Residual Risk
|  | Employees | Environment | Client / Contractor | Others |  | L | S | RR | E | S | EC | AC | P |  | L | S | RR
Electric shock |  | X |  | X | X | Injury or fatality from contact with live parts | Risk Rating L: 3; Risk Rating S: 4; Risk Rating RR: 12; Hierarcy AC: X | Only trained, competent personnel perform PAT Testing equipment calibrated and maintained Visual inspection before energised testing Equipment isolated before inspection Use of RCDs and insulated tools | 1 | 2 | 2
Tripping over cables |  | X |  | X | X | Slips, trips, or falls due to trailing leads or moved equipment | Risk Rating L: 3; Risk Rating S: 3; Risk Rating RR: 9; Hierarcy AC: X | Work area cordoned off or signage used Cables routed away from walkways Testing scheduled to minimise foot traffic | 1 | 1 | 1
Manual handling |  | X |  | X | X | Strain injuries from moving appliances | Risk Rating L: 3; Risk Rating S: 3; Risk Rating RR: 9; Hierarcy AC: X | Manual handling training Use of trolleys or team lifting Minimise movement of heavy items | 1 | 1 | 1
Fire Hazard |  | X |  | X | X | Faulty appliances overheating or sparking | Risk Rating L: 3; Risk Rating S: 4; Risk Rating RR: 12; Hierarcy AC: X | Remove failed appliances immediately Test in dry, non-flammable areas Fire extinguishers available and staff trained | 1 | 2 | 2
Operational disruption |  | X |  | X | X | Interruption to normal work activity | Risk Rating L: 3; Risk Rating S: 2; Risk Rating RR: 6; Hierarcy AC: X | Coordinate with departments to schedule testing Test out-of-hours where possible Communicate clearly in advance | 1 | 2 | 2
Noise |  | X |  | X | X | Minor disruption or startle hazard | Risk Rating L: 2; Risk Rating S: 3; Risk Rating RR: 6; Hierarcy AC: X | Advise nearby staff Keep testing noise to a minimum | 1 | 2 | 2
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
[7 empty] | Risk Rating RR: 0 |  |  |  | 0
Likelihood (L) x Severity (S) = Risk Rating (RR)
Hierarcy of Controls
E | Elimination | [5 empty] | Risk Rating L: The most effective way to prevent harm. If a hazard is eliminated from a workplace, it cannot cause harm.
S | Substitution | [5 empty] | Risk Rating L: Finding safer alternatives to existing hazards
EC | Engineering Controls | [5 empty] | Risk Rating L: Engineering measures to isolate hazards that separate workers from the hazards
AC | Administrative Controls | [5 empty] | Risk Rating L: Shift focus from the hazard to managing the human element involved in risk. Training and awareness are the focus of administrative controls. Signage, SSOW etc..
P | Personal Protective Equipment (PPE) | [5 empty] | Risk Rating L: PPE is usually considered the last line in a hierarchy of controls. PPE includes safety equipment like dust masks, coveralls, gloves, eye protection suits, and others.
Risk Rating
Likelihood | 4 | 4 | 8 | 12 | 16 |  | Risk Rating L: 12 - 16 = High; Hierarcy E: Stop immediately! Risk is too high and not acceptable. Suitable and sufficient risk control measures must be in implemented. Alternative working practices should be used.
| 3 | 3 | 6 | 9 | 12 |  | Risk Rating L: 6 - 9 = Medium - High; Hierarcy E: Requires immediate attention to bring the risk down to an acceptable level.
| 2 | 2 | 4 | 6 | 8 |  | Risk Rating L: 3 - 4 = Medium; Hierarcy E: Tolerable, more control is practicable. Approval from relevant supervisory level required
| 1 | 1 | 2 | 3 | 4 |  | Risk Rating L: 1 - 2 = Low - Medium; Hierarcy E: Level of risk satisfactory. Work to proceed following safe system of work & monitor for changes.
Severity |  | 1 | 2 | 3 | 4
Likelihood | 4 | Likely |  |  |  | Severity | Risk Rating L: 4; Risk Rating S: Major
| 3 | Probable |  |  |  |  | Risk Rating L: 3; Risk Rating S: Serious; Hierarcy P: Signed Originator: | Paul Rye
| 2 | Possible |  |  |  |  | Risk Rating L: 2; Risk Rating S: Minor; Hierarcy P: Title: | Workshop Manager
| 1 | Remote |  |  |  |  | Risk Rating L: 1; Risk Rating S: Negligible; Hierarcy P: Date: | 2025-07-10